## Sheet1
Section | S.No | Description | Specification | Unit | Quantity | Unit Rate | Total Amount
1. DC SIDE COMPONENTS | 1.1.1 | Solar PV Modules | Bifacial Mono PERC/TOPCon, W, Efficiency ≥% | Nos
1. DC SIDE COMPONENTS | 1.1.2 | Module Spare (2% of total) | Same specification | Nos
1. DC SIDE COMPONENTS | 1.2.1 | MMS Foundation | RCC/Ramming/Screw pile | Nos/MT
1. DC SIDE COMPONENTS | 1.2.2 | Vertical Posts | HDG Steel, C-channel/I-section | MT
1. DC SIDE COMPONENTS | 1.2.3 | Purlins/Rails | HDG Steel, C-channel | MT
1. DC SIDE COMPONENTS | 1.3.1 | DC Cable (String level) | 4/6 mm² Solar cable, 1.5kV | km
1. DC SIDE COMPONENTS | 1.4.1 | SCB Enclosure | IP65, Thermoplastic, 16/24 string | Nos
1. DC SIDE COMPONENTS | 1.5.1 | Array Junction Boxes | For parallel combining | Nos
2. POWER CONVERSION SYSTEM | 2.1.1 | Central/String Inverters | ___MW, 1500V DC input | Nos
2. POWER CONVERSION SYSTEM | 2.1.2 | Inverter Container/Housing | With HVAC, 40ft | Nos
2. POWER CONVERSION SYSTEM | 2.2.1 | Step-up Transformer | 0.69/___kV, ___MVA, ONAN/ONAF | Nos
3. AC COLLECTION SYSTEM | 3.1.1 | LV Power Cable | 3.5C x ___mm² XLPE/XLPO | km
3. AC COLLECTION SYSTEM | 3.2.1 | MV Power Cable | 3C x ___mm² XLPE, ___kV | km
3. AC COLLECTION SYSTEM | 3.3.1 | Cable Trenching | 1.2m depth | km
4. GRID INTERCONNECTION & SUBSTATION | 4.1.1 | Power Transformer | ___/___kV, ___MVA | Nos
4. GRID INTERCONNECTION & SUBSTATION | 4.2.1 | Control & Relay Panel | Simplex/Duplex | Nos
4. GRID INTERCONNECTION & SUBSTATION | 4.3.1 | Station Transformer | ___kVA, ___/0.433kV | Nos
4. GRID INTERCONNECTION & SUBSTATION | 4.4.1 | Transmission Towers | ___kV, lattice type | Nos
5. EARTHING & LIGHTNING PROTECTION | 5.1.1 | Equipment Earthing | 50x6mm GI Strip | km
5. EARTHING & LIGHTNING PROTECTION | 5.2.1 | Lightning Masts | 15-20m height | Nos
6. MONITORING & CONTROL SYSTEM | 6.1.1 | SCADA Server | Redundant, industrial PC | Set
6. MONITORING & CONTROL SYSTEM | 6.2.1 | Pyranometer | Class A, with tracker | Nos
6. MONITORING & CONTROL SYSTEM | 6.3.1 | CCTV Cameras | IP66, IR, 4MP minimum | Nos
6. MONITORING & CONTROL SYSTEM | 6.4.1 | Optical Fiber Cable | 24 core, armored | km
7. CIVIL & GENERAL WORKS | 7.1.1 | Land Grading & Leveling | Cut/fill as required | m³
7. CIVIL & GENERAL WORKS | 7.2.1 | Control Room Building | With HVAC | m²
7. CIVIL & GENERAL WORKS | 7.3.1 | Cable Trenches | RCC with covers | km
8. FIREFIGHTING & SAFETY SYSTEM | 8.1.1 | Fire Extinguishers | CO2/ABC Powder, 6kg | Nos
8. FIREFIGHTING & SAFETY SYSTEM | 8.2.1 | First Aid Kits | Industrial type | Nos
9. POWER QUALITY & GRID COMPLIANCE | 9.1.1 | Power Quality Analyzer | Class A, IEC 61000-4-30 | Nos
9. POWER QUALITY & GRID COMPLIANCE | 9.2.1 | Anti-Islanding Relay | IEEE 1547 compliant | Nos
10. TESTING & COMMISSIONING | 10.1.1 | Earth Tester | Digital, 4-pole method | Nos
10. TESTING & COMMISSIONING | 10.2.1 | Pre-commissioning Tests | Visual, mechanical, electrical | LS
11. OPERATION & MAINTENANCE | 11.1.1 | Module Cleaning Equipment | Water fed/Robotic | Set
11. OPERATION & MAINTENANCE | 11.2.1 | String Fuses | 20/25A, 1500V DC | Nos
12. ENVIRONMENTAL & MISCELLANEOUS | 12.1.1 | Noise Level Meter | Class 1, digital | Nos
12. ENVIRONMENTAL & MISCELLANEOUS | 12.2.1 | Project Management | Complete project duration | LS
12. ENVIRONMENTAL & MISCELLANEOUS | 12.3.1 | As-built Drawings | CAD drawings, 3 copies | Set

## Sheet2
DC Side Components
Description | Specification | Unit | value determination logic | brief logic | Quantity | Unit Rate | Total Amount | fetch from detailed summary
Solar PV Modules | Mono PERC/TOPCon, W, Efficiency ≥ % | Nos | fetch from detailed summary | get it from design summary tab |  |  |  | calculated & estimated
MC4 Connectors | Male & Female pairs | Pairs | calculated & estimated | refer to total string numbers and strings input per inverter |  |  |  | constant value/lumpsum per project
Module Mounting Structure (MMS)
MMS Foundation | RCC/Ramming/Screw pile | Nos/MT | calculated & estimated | refer to pv mounting structural type, total qty of such pv mounting structure
Vertical Posts | HDG Steel, C-channel/I-section | MT | calculated & estimated | refer to pv mounting structural type, total qty of such pv mounting structure
Purlins/Rails | HDG Steel, C-channel | MT | calculated & estimated | refer to pv mounting structural type, total qty of such pv mounting structure
Columns |  |  | calculated & estimated | refer to pv mounting structural type, total qty of such pv mounting structure
Struture Earthing Material |  |  | calculated & estimated
DC Cables & Accessories
DC Cable (String level) | 4/6 mm² Solar cable, 1.5kV | km | fetch from detailed summary
DC Cable (Combiner to Inverter) | 95/120/150/185 mm² XLPE, 1.5kV | km | fetch from detailed summary
Cable Laying Materials | Sand, Bricks, Tiles | LS | calculated & estimated
Cable Marking Materials | Tags, ferrules | LS | calculated & estimated
String Combiner Boxes (SCB/DCDB)
DCDB Enclosure | IP65, Thermoplastic/MS | Nos | fetch from detailed summary | get it from design summary tab
DC Fuses | 15A, 1000V DC, gPV | Nos | fetch from detailed summary | get it from design summary tab
Fuse Holders | 1000V DC rated | Nos | fetch from detailed summary | get it from design summary tab
DC SPD | Type 2, 1000V DC | Nos | fetch from detailed summary | get it from design summary tab
DC MCB/Isolator | 1000V DC rated | Nos | fetch from detailed summary | get it from design summary tab
DC Bus Bars & Terminals for DCDB | Copper, Tinned | Set | fetch from detailed summary | get it from design summary tab
Cable Ties & Clips | UV resistant | Nos | calculated & estimated
Cable Trays | Perforated GI | m | calculated & estimated | refer to DCDB to inverter dc cable length
POWER CONVERSION SYSTEM
Central/String Inverters | MW, 1500V DC input | Nos | fetch from detailed summary
Inverter Container/Housing | With HVAC, 40ft | Nos | calculated & estimated
Inverter Protection System | DC/AC protection panels | Set | calculated & estimated
Inverter SCADA Integration | Communication equipment | LS | calculated & estimated
LV Combiner panel (for String Inverters) |  |  | fetch from detailed summary
Low Voltage Switchgear
Circuit Breaker#1 (Inv to LV Combiner Panel) | MCCB/ACB | Nos | fetch from detailed summary
Circuit Breaker#2 (LV Combiner Panel IDT) | MCCB/ACB |  | fetch from detailed summary
MV Transformer Station
Inverter Duty Transformer | 0.69/ kV, MVA, ONAN/ONAF | Nos | fetch from detailed summary
Transformer Foundation | RCC with oil pit | Nos | calculated & estimated
HV Bushings & Arrestors | kV rated | Set | calculated & estimated
Neutral Grounding Resistor | Brief Specification required | Nos | calculated & estimated
Oil Testing Kit | Portable | Nos | calculated & estimated
Medium Voltage Switchgear
Ring Main Unit (RMU) | kV, SF6/Vacuum | Nos
MV Switchgear Panel | Metal clad, kV | Nos
Circuit Breaker | VCB/SF6, A, kV | Nos
Protection Relays | Numerical, multifunctional | Nos
CT & PT for Metering | kV, accuracy class 0.2 | Sets
LV AC Cables
LV Power Cable#1 (Central Inv to IDT) | 3.5C x mm² XLPE/XLPO | km
LV Power Cable#2(String Inv to LV Combiner Panel) | 3.5C x mm² XLPE/XLPO | km
LV Power Cable#3(LV Combiner Panel to IDT) | 3.5C x mm² XLPE/XLPO | km
Cable Termination Kits | Heat shrink/Cold shrink | Sets
Cable Jointing Kits | Straight through | Sets
MV AC Cables
MV Power Cable | 3C x mm² XLPE, kV | km
Cable Termination Kits | Outdoor/Indoor type | Sets
Cable Jointing Kits | Straight/Transition | Sets
Cable Fault Locator | Portable | Nos
Cable Laying & Management
Cable Trenching | 1.2m depth | km
Cable Trays (Plant room) | HDG, ladder type | m
RCC Hume Pipes | For road crossing | m
Warning Tape | "Danger" printed | km
Route Markers | RCC/FRP | Nos
Main Substation Equipment
Power Transformer | / kV, MVA | Nos
HV Circuit Breaker | kV, SF6/Vacuum | Nos
Isolators | kV, motorized | Sets
Current Transformer | kV, metering + protection | Nos
Potential Transformer | kV, metering + protection | Nos
Lightning Arrestor | kV, gapless | Nos
Wave Trap (if required) | kV rated | Nos
Control & Relay Panel
Control & Relay Panel | Simplex/Duplex | Nos
Distance Protection Relay | Numerical | Nos
Differential Protection | Transformer/Line | Nos
SCADA RTU | IEC 61850 compatible | Nos
GPS Time Synchronization | Master clock | Set
Substation Auxiliary
Station Transformer | kVA, /0.433kV | Nos
LT Distribution Panel | With AMF | Nos
DG Set | kVA, with AMF | Nos
Battery Bank | 110/220V DC, AH | Set
Battery Charger | Float cum boost | Nos
DC Distribution Board | With monitoring | Nos
Transmission Line
Transmission Towers | kV, lattice type | Nos
Conductors | ACSR/AAAC sq.mm | km
Ground Wire | OPGW/Earth wire | km
Insulators | Disc/Polymer type | Nos
Tower Foundation | RCC | Nos
Plant Earthing System
Equipment Earthing | 50x6mm GI Strip | km
Earthing Grid | 40x6mm GI Strip | km
Earth Electrodes | CI pipe, 100mm dia, 3m | Nos
Earth Enhancement Material | Bentonite/GEM | MT
Earth Pit Chambers | With cover plate | Nos
Exothermic Welding | Molds and powder | Sets
Lightning Protection System
Lightning Masts | 15-20m height | Nos
Air Terminals | Franklin rod type | Nos
Down Conductors | 70mm² Aluminum | km
Equipotential Bonding | At inverter/transformer | LS
SCADA System
SCADA Server | Redundant, industrial PC | Set
SCADA Software | Licensed, unlimited tags | Nos
Operator Workstation | With dual monitors | Nos
Network Equipment | Managed switches, routers | Set
Firewall | Industrial grade | Nos
UPS for SCADA | 10kVA, 30 min backup | Nos
Weather Monitoring Station
Pyranometer | Class A, with tracker | Nos
Module Temperature Sensor | PT100 | Nos
Ambient Temperature | With radiation shield | Nos
Wind Speed & Direction | Ultrasonic type | Nos
Rain Gauge | Tipping bucket | Nos
Data Logger | With remote transmission | Nos
Reference Cell | Calibrated | Nos
Soiling Station | With measurement | Nos
Security System
CCTV Cameras | IP66, IR, 4MP minimum | Nos
PTZ Cameras | For perimeter | Nos
NVR System | With TB storage | Set
Perimeter Intrusion System | Fence mounted sensors | km
Access Control System | Biometric/RFID | Sets
Security Cabin Equipment | Monitors, controls | LS
Communication System
Optical Fiber Cable | 24 core, armored | km
OFC Accessories | Joint boxes, pigtails | Set
Wireless Communication | If required | Set
RTU/Data Concentrators | At field level | Nos
Site Development
Land Grading & Leveling | Cut/fill as required | m³
Boundary Wall/Fencing | 2.4m height, with gates | km
Internal Roads | WBM/Concrete | km
Storm Water Drains | RCC/Masonry | km
Culverts | At road crossings | Nos
Buildings & Structures
Control Room Building | With HVAC | m²
Inverter Room | If indoor type | m²
Warehouse/Store | For spares | m²
Security Cabin | At entry gates | Nos
Switchyard Control Room | Fire resistant | m²
Other Civil Works
Cable Trenches | RCC with covers | km
Equipment Foundations | For transformers/inverters | m³
Water Storage Tank | 50,000L capacity | Nos
Septic Tank & Soakpit | For building utilities | Set
Landscaping | Around buildings | m²
Firefighting Equipment
Fire Extinguishers | CO2/ABC Powder, 6kg | Nos
Fire Hydrant System | Complete with pumps | Set
Water Sprinkler System | For buildings | m²
Fire Detection System | Smoke/heat detectors | Set
Fire Alarm Panel | Addressable type | Nos
Emergency Lighting | LED, battery backup | Nos
Power Quality Equipment
Power Quality Analyzer | Class A, IEC 61000-4-30 | Nos
Harmonic Filter | If required | Set
Reactive Power | STATCOM/SVC if | Set
Compensation | required
Power Factor Correction | Capacitor banks | kVAR
Grid Compliance Equipment
Anti-Islanding Relay | IEEE 1547 compliant | Nos
Frequency Relay | Over/Under frequency | Nos
Voltage Relay | Over/Under voltage | Nos
Synchroscope | For synchronization | Nos
Testing Equipment
Earth Tester | Digital, 4-pole method | Nos
Insulation Tester | 5kV, digital | Nos
Multimeter | True RMS, CAT IV | Nos
Oscilloscope | 4-channel, 100MHz | Nos
Power Analyzer | 3-phase, harmonics | Nos
High Pot Tester | AC/DC, 100kV | Nos
O&M Equipment
Module Cleaning Equipment | Water fed/Robotic | Set
Thermal Imaging Camera | For inspection | Nos
I-V Curve Tracer | For module testing | Nos
Irradiance Meter | Portable | Nos
Tracker Maintenance Tools | Specialized kit | Set
Spare Parts (2 Years)
String Fuses | 20/25A, 1500V DC | Nos
DC Contactors | For combiner boxes | Nos
Protection Relays | 5% of total | Nos
HV Fuses | For transformers | Nos
Cable Joints | Emergency stock | Sets
Inverter Cooling Fans | Replacement | Nos
Tracker Drive Components | Motors, gears | Set

## Sheet3
DC Cables & Accessories
String Combiner Boxes (SCB/DCDB)
POWER CONVERSION SYSTEM
Low Voltage Switchgear
MV Transformer Station
Medium Voltage Switchgear
LV AC Cables
MV AC Cables
Cable Laying & Management
Main Substation Equipment
Control & Relay Panel
Substation Auxiliary
Transmission Line
Plant Earthing System
Lightning Protection System
SCADA System
Weather Monitoring Station
Security System
Communication System
Site Development
Buildings & Structures
Other Civil Works
Firefighting Equipment
Power Quality Equipment
Grid Compliance Equipment
Testing Equipment
O&M Equipment
Spare Parts (2 Years)